## Slide 1: Water Level Monitoring Using HC-SR04 Sensor and Arduino IoT Cloud
A Real-Time Monitoring Solution for Water Levels
Rayan alshubli 221423496 Ahmed mansour 221433714 Suervision : Dr.abdullah albuali

## Slide 2: Abstract
Design a real-time water level monitoring system.
Uses HC-SR04 ultrasonic sensor and Arduino IoT Cloud.
Displays water levels on a cloud-based dashboard using a Gauge widget.

## Slide 3: Objective
Remote monitoring
via cloud-based dashboard
Cost-effective
solution for flood-prone and water resource management areas.
Real-time data updates
using Arduino IoT Cloud.
Goal: Build an affordable and efficient water level monitoring system.

## Slide 4: System Components 01 02
HC-SR04 Ultrasonic Sensor: Measures distance to the water surface.
Arduino Board: Processes sensor data and connects to the IoT Cloud.
Internet Module (WiFi/Ethernet): Transmits data to the cloud.
Hardware
Software
Arduino IDE for programming.
Arduino IoT Cloud for dashboard and data visualization.

## Slide 5: Wiring Diagram

## Slide 6: Project Setup

## Slide 7: Methodology
Step 1: Connect the HC-SR04 sensor to the Arduino.
Step 2: Set up Arduino IoT Cloud, create a "Thing", and define the distance variable.
Step 3: Use a Gauge widget on the cloud dashboard to display real-time data.
Step 4: Monitor the water levels remotely via the IoT cloud.

## Slide 8: Real-Time Monitoring and Dashboard
Gauge Widget
Real-Time Data
Accessibility
Displays water level as a visual indicator.
Updated continuously on the cloud dashboard.
Remote access through the IoT cloud interface.

## Slide 9: Old Dashboard

## Slide 10: New Dashboard From MQTT

## Slide 11: Testing and Verification
Verified that the distance variable was updated correctly in the dashboard.
Gauge updated dynamically, reflecting water level changes in real-time.
Gauge displayed updated values as water levels changed.
Successful data transmission from the sensor to the cloud and dashboard.
1
2
1
2
Real-Time Data Updates
Real-Time Monitoring

## Slide 12: Benefits
Data Storage & Analysis
Historical data storage for tracking trends and future analysis.
Interactivity
Immediate action based on the water level displayed on the Gauge.
Real-Time Monitoring & Visualization
Instant updates on water levels via cloud dashboard.

## Slide 13: Challenges 01 02
Ensuring accurate data transmission from Arduino IoT Cloud to the dashboard required careful setup of variables and configuration.
Real-Time Data Updates
Connectivity Issues
Ensuring stable and continuous Wi-Fi connection for data transmission.

## Slide 14: conclusion
In conclusion, the water level monitoring system using the HC-SR04 sensor and Arduino IoT Cloud offers real-time data visualization and remote monitoring, providing an affordable and reliable solution for flood and water resource management. Despite minor challenges, the system proved effective and scalable for environmental monitoring.

## Slide 15: Flowchart

## Slide 16: References
A. M. G. I. Rodrigues and F. J. A. Santos, "Water Level Monitoring using ESP8266 and Arduino IoT Cloud," Electronic Clinic, 2021. [Online]. Available: https://www.electroniclinic.com.
P. G. Sharma, "IoT based Contactless Water Level Monitoring with ESP32 and HC-SR04," Microcontrollers Lab, 2021. [Online]. Available: https://www.microcontrollerslab.com.
R. Chatterjee, "Automated Water Level Monitoring and Control System," GitHub Repository, 2021. [Online]. Available: https://github.com/chatterjee-rohan/Automated-Water-Level-Monitoring.
M. Martinius, "Water Level Monitor - Arduino / ESP8266 / ESP32 / Sigfox," Arduino Project Hub, 2022. [Online]. Available: https://projecthub.arduino.cc/martinius96/water-level-monitor-arduino-esp8266-esp32-sigfox-21ede7.

## Slide 17
Thanks!
Do you have any questions?